Neuro-Symbolic ICS Safety Auditor

Pipeline Steps and Preliminary Results Report

M.Tech Research  ·  Amrita School of Computing
Amrita Vishwa Vidyapeetham  ·  2026

Document scope:

This report covers all 9 pipeline phases, their inputs/outputs, algorithm design, evaluation metrics, and dataset description.

# 1.  System Overview

The Neuro-Symbolic ICS Safety Auditor is a 9-phase automated pipeline that reads industrial control system (ICS) specification documents — Control Narratives, Cause-Effect Tables, and P&ID Drawings — and produces a formal safety audit report with machine-verified findings.

## Pipeline Architecture

| Phase | Name | Description |
| --- | --- | --- |
| Phase 1 | Multimodal Ingestion | PDF text, table extraction, OCR on P&ID drawings |
| Phase 2 | LLM Entity & Rule Extraction | Qwen 2.5 (via Ollama) extracts equipment tags and control rules |
| Phase 3 | Cross-Modal Entity Linking | 3-step cascade: Exact → Fuzzy (RapidFuzz) → Embedding |
| Phase 4 | Knowledge Graph Construction | NetworkX + PyVis directed graph of equipment and rules |
| Phase 5 | Control Rule IR | Pydantic v2 validates structured intermediate representation |
| Phase 6 | IEC 61511 Invariant Coverage | 19 safety requirement templates checked against extracted rules |
| Phase 7 | Z3 Formal Verification | Microsoft Z3 SMT solver proves OMISSION / CONTRADICTION / TAG_MISMATCH |
| Phase 8 | HTML Report Generation | Jinja2 templates produce a colour-coded audit report |
| Phase 9 | PLC Code Generation | IEC 61131-3 Structured Text with AUDIT NOTE annotations |

Figure 1. Phase execution times on PKG-001 (local CPU, Qwen 2.5 7B).

# 2.  Phase 1 — Multimodal Document Ingestion

The first phase reads all three specification document types and converts them to a structured text representation suitable for downstream LLM processing.

## Inputs

Control Narrative PDF  (e.g. PKG-001_spec.pdf)

Cause-Effect Table PDF  (structured table format)

P&ID Drawing  (PNG/JPEG — scanned engineering diagram)

## Method

PDF text layer extracted with PyMuPDF / pdfplumber

Tables detected and parsed into row × column dicts

P&ID image passed through Tesseract OCR (v5) to extract instrument tag labels

All three outputs merged into a unified DocumentBundle object

## Output

DocumentBundle:

3 parsed documents, ~1400 tokens total for PKG-001. Equipment tags identified: PT-101, LT-201, TT-501, FT-601, XV-201, XV-301, XV-501, P-001, P-401, ESD-001.

| Document | Extraction Method | Tokens | Tags Found |
| --- | --- | --- | --- |
| Control Narrative | PyMuPDF text layer | 680 | 10 equipment, 8 rules |
| Cause-Effect Table | Table parser | 450 | 9 rows, 6 unique triggers |
| P&ID Drawing | Tesseract OCR | 270 | 11 instrument tags |

# 3.  Phase 2 — LLM Entity and Rule Extraction

Qwen 2.5 (7B, running locally via Ollama) parses each document section and extracts structured equipment entities and control rules using chain-of-thought prompting with Pydantic v2 output validation.

## LLM Configuration

| Parameter | Value |
| --- | --- |
| Model | Qwen 2.5 7B (local via Ollama) |
| Temperature | 0.1 (low for factual extraction) |
| Max tokens | 2048 per chunk |
| Output format | Pydantic v2 JSON schema |
| Retry on failure | 3× with exponential back-off |
| Framework | LangChain v0.3.25 |

## Extracted Control Rules (PKG-001)

| Rule ID | Trigger Tag | Condition | Action Tag | State |
| --- | --- | --- | --- | --- |
| R-01 | ESD-001 | DEMAND | P-001 | STOP |
| R-02 | PT-101 | >= 45 bar | ALARM | ON |
| R-07 | TT-501 | > 80 °C | XV-301 | OPEN |
| R-12 | TT-501 | > 80 °C | XV-301 | CLOSE ← CONFLICT |
| R-14 | FT-601 | > 200 L/min | XV-501 | OPEN |
| R-19 | FT-601 | > 200 L/min | XV-501 | CLOSE ← CONFLICT |
| R-22 | ESD-001 | DEMAND | XV-201 | CLOSE |

Key result:

8 control rules extracted. Pydantic v2 validation passed for all 8. Extraction time: 4.12 seconds.

# 4.  Phase 3 — Cross-Modal Entity Linking

The linker resolves the same physical equipment tag that appears under different names across the three documents. It runs a 3-step cascade for each pair of tags.

Figure 2. Three-step entity linking cascade.

## Algorithm Steps

| Step | Method | Threshold | Output |
| --- | --- | --- | --- |
| 1 — Exact | String equality (case-insensitive) | 100% | Transparent link |
| 2 — Fuzzy | RapidFuzz token_sort_ratio | score ≥ 85 | TAG_MISMATCH finding |
| 3 — Embed | cos_sim(all-MiniLM-L6-v2 embeddings) | cos_sim ≥ 0.75 | Semantic link |

## TAG_MISMATCH Results (PKG-001)

| Tag A (Narrative) | Tag B (C&E Table) | Method | Score | Severity |
| --- | --- | --- | --- | --- |
| PT-101A | PT101A | Fuzzy | 0.923 | MEDIUM |
| FT-601 | FT601 | Fuzzy | 0.960 | LOW |

# 5.  Phase 4 — Knowledge Graph Construction

All linked entities and control rules are assembled into a directed knowledge graph using NetworkX, then exported as an interactive HTML visualisation via PyVis.

## Graph Statistics (PKG-001)

| Metric | Value |
| --- | --- |
| Total nodes | 15 (equipment tags, rules, alarms) |
| Total edges | 17 (control rule links) |
| RED edges | 4 (CONTRADICTION / OMISSION) |
| ORANGE nodes | 3 (TAG_MISMATCH candidates) |
| Construction time | 0.09 s |
| Output | Interactive HTML (PyVis force-directed) |

Node colour coding:

Blue = Sensor/Transmitter  ·  Green = Valve/Actuator  ·  Red = ESD / High-severity target  ·  Orange = TAG_MISMATCH candidate

# 6.  Phases 5 & 6 — IR Construction and IEC 61511 Coverage

## Phase 5 — Control Rule Intermediate Representation

Each extracted rule is validated through a Pydantic v2 schema to produce a typed ControlRule object. This IR is the input to the Z3 formal verifier.

ControlRule schema (Pydantic v2)

class ControlRule(BaseModel):

rule_id   : str

trigger   : Condition   # tag, operator, value

action    : Action      # tag, state

source_doc: SourceDoc   # NARRATIVE | CE_TABLE | PID

confidence: float       # 0.0 – 1.0

## Phase 6 — IEC 61511 Invariant Coverage

19 invariant templates derived from IEC 61511-1 are checked against the extracted rule set. Any template with no matching rule becomes a candidate OMISSION finding.

| Template # | IEC 61511 Clause | Description | PKG-001 Status |
| --- | --- | --- | --- |
| T-01 | §10.3.2 | High-High pressure shutdown | OMISSION — no rule |
| T-02 | §11.2.1 | High-High level alarm + shutdown | OMISSION — no rule |
| T-03 | §10.5.3 | ESD propagation to all pumps | OMISSION — P-401 missing |
| T-04 | §9.4.1 | No conflicting valve commands | Checked by Z3 Phase 7 |
| T-05 | §8.2.3 | Consistent tag naming | TAG_MISMATCH detected |
| … | … | 14 more invariant templates | All passed or flagged |

# 7.  Phase 7 — Z3 Formal Verification

Microsoft Z3 SMT solver runs three verification passes over the control rule IR. Each pass encodes the rules as Boolean constraints and checks satisfiability.

## OMISSION Pass

For each IEC 61511 invariant template that requires a rule, Z3 checks whether any rule in the IR satisfies the template condition. If no rule is found (UNSAT), an OMISSION finding is raised.

# Check: ∃ rule r with r.trigger.tag='PT-101' AND r.action.state in {STOP,CLOSE}

solver.add(Or([rule_matches(r) for r in rules]))

if solver.check() == unsat:  →  OMISSION finding

## CONTRADICTION Pass

For each pair of rules with the same trigger condition, Z3 checks whether their combined actions are satisfiable. If not (UNSAT), a CONTRADICTION finding is raised.

# Rule R-07: TT-501 > 80 → XV-301 OPEN

# Rule R-12: TT-501 > 80 → XV-301 CLOSE

solver.add(Implies(TT501_hi, xv301_open))

solver.add(Implies(TT501_hi, Not(xv301_open)))

solver.check()  →  unsat  →  CONTRADICTION

## TAG_MISMATCH Pass

Confirms that fuzzy-linked tags from Phase 3 refer to the same instrument by verifying their operational context is consistent across documents.

# PT-101A (narrative) linked to PT101A (C&E) by fuzzy score 0.923

# Z3 checks: both tags appear in rules with same role

# Result: TAG_MISMATCH confirmed (naming inconsistency)

## All Findings — PKG-001

| # | Type | Severity | Tags | IEC Clause | Z3 Result |
| --- | --- | --- | --- | --- | --- |
| 1 | OMISSION | HIGH | PT-101 | §10.3.2 | UNSAT — no HH trip |
| 2 | OMISSION | HIGH | LT-201 | §11.2.1 | UNSAT — no alarm/trip |
| 3 | CONTRADICTION | HIGH | XV-301 | §9.4.1 | UNSAT — R-07 vs R-12 |
| 4 | TAG_MISMATCH | MEDIUM | PT-101A/PT101A | §8.2.3 | Fuzzy 0.923 |
| 5 | OMISSION | MEDIUM | P-401, ESD-001 | §10.5.3 | UNSAT — P-401 not in ESD |
| 6 | CONTRADICTION | MEDIUM | XV-501 | §9.4.1 | UNSAT — R-14 vs R-19 |
| 7 | TAG_MISMATCH | LOW | FT-601/FT601 | §8.2.3 | Fuzzy 0.960 |

Figure 3. Severity distribution and finding type breakdown (PKG-001).

# 8.  Phase 8 — HTML Audit Report Generation

Jinja2 templates produce a self-contained HTML report with colour-coded finding cards, Z3 proof details, source text excerpts, and remediation recommendations.

| Report Section | Content |
| --- | --- |
| Executive Summary | Run ID, timestamp, total findings, severity KPIs |
| Finding Cards | One card per finding: type badge, severity, IEC clause, source text, Z3 proof, recommendation |
| Knowledge Graph | Embedded PyVis interactive HTML graph |
| Pipeline Log | Phase timings and configuration used |
| Appendix | Full rule IR dump, raw LLM extraction log |

Output:

safety_audit_report.html  ·  ~180 KB  ·  generation time: 0.11 s

# 9.  Phase 9 — IEC 61131-3 PLC Code Generation

Each verified control rule is compiled into IEC 61131-3 Structured Text. Findings (OMISSION / CONTRADICTION) are injected as AUDIT NOTE comments so a safety engineer cannot miss them during code review.

PLC Structured Text — Section 4.1 (PT-101 High Pressure)

(* Rule R-02: PT-101 High alarm 45 bar                    *)

IF PT_101 >= 45.0 THEN

ALARM_PT101 := TRUE;

END_IF;

(* == AUDIT NOTE -- OMISSION -- IEC 61511-1 §10.3.2 ===== *)

(*  No High-High SHUTDOWN rule for PT-101 at 60 bar.       *)

(*  Z3 PROOF: UNSAT -- no rule with PT-101>=60 AND STOP.   *)

(*  REQUIRED: Add HH trip before production deployment.    *)

(* ========================================================*)

IF PT_101 >= 60.0 THEN         (* PLACEHOLDER from §10.3.2 *)

XV_201_CMD := FALSE;

P_001_RUN  := FALSE;

END_IF;

| Metric | Value |
| --- | --- |
| Lines of ST generated | ~120 |
| Rules compiled | 8 |
| AUDIT NOTE comments | 5 (3 OMISSION, 2 CONTRADICTION) |
| IEC standard | IEC 61131-3 / IEC 61511 |
| Generation time | 0.06 s |
| Output file | safety_audit.st |

# 10.  Evaluation Metrics — 50-Package Benchmark

The pipeline was evaluated on a synthetic benchmark corpus of 50 packages. Each package has known injected defects (ground truth) against which precision, recall, and F1 are measured.

## Overall Results

| Metric | Score | Notes |
| --- | --- | --- |
| Precision | 0.960 | Low false-positive rate (4%) |
| Recall | 0.880 | 88% of injected defects detected |
| F1 Score | 0.918 | Harmonic mean — strong overall |
| Accuracy | 0.925 | Correct classification rate |
| Packages evaluated | 50 | 5 defect categories, seed 42 |

Figure 4. Precision / Recall / F1 per defect category (50-package benchmark).

## Per-Category Breakdown

| Defect Category | Precision | Recall | F1 | TP | FP | FN |
| --- | --- | --- | --- | --- | --- | --- |
| Missing Shutdown Rule | 0.960 | 0.920 | 0.940 | 23 | 1 | 2 |
| Contradiction | 1.000 | 0.870 | 0.931 | 13 | 0 | 2 |
| Missing Alarm | 0.930 | 0.860 | 0.894 | 18 | 1 | 3 |
| Tag Mismatch | 0.960 | 0.900 | 0.929 | 18 | 1 | 2 |
| Missing Interlock | 0.950 | 0.880 | 0.914 | 22 | 1 | 3 |

## Ablation Study — Cross-Modal Entity Linking

The linker was disabled to measure its contribution. Recall drops by 18 percentage points, confirming that entity linking is critical for finding TAG_MISMATCH defects.

Figure 5. Ablation study — full pipeline vs linking disabled vs LLM baseline.

| Condition | Precision | Recall | F1 |
| --- | --- | --- | --- |
| Full pipeline (linking ON) | 0.960 | 0.880 | 0.918 |
| Linking OFF (ablation) | 0.940 | 0.700 | 0.803 |
| Post-generation LLM baseline | 0.820 | 0.650 | 0.725 |

Key insight:

Cross-modal entity linking adds +18 pp Recall and +11.5 pp F1 over the ablation baseline. Without it, TAG_MISMATCH defects are systematically missed because the same instrument appears under different tag names in different documents.

# 11.  Dataset — Synthetic ICS Benchmark Corpus

50 specification packages were generated to simulate real industrial process loop documentation sets. Each package mimics a single control loop (e.g. a pump pressure loop or heat exchanger temperature loop).

## Dataset Statistics

| Property | Value |
| --- | --- |
| Total packages | 50 |
| Documents per package | 3 (Control Narrative + C&E Table + P&ID) |
| Defect categories | 5 (see below) |
| Total injected findings | 94 (ground truth) |
| Severity split | HIGH: 57% · MEDIUM: 35% · LOW: 8% |
| Random seed | 42 (reproducible) |
| Corpus alignment | ICS-CERT vulnerability taxonomy |

Figure 6. Number of packages with each injected defect category.

## Package Structure

| Document | Format | Key Content |
| --- | --- | --- |
| Control Narrative | PDF | Equipment list, normal operation, alarm and shutdown procedures, ESD description |
| Cause-Effect Table | PDF | Trigger tag + condition → Action tag + state (tabular format) |
| P&ID Drawing | Image | Piping & Instrumentation diagram with instrument tag labels and connections |
| Ground-Truth Labels | JSON | Defect type, severity, affected tags, expected finding True/False |

## 5 Injected Defect Categories

| Category | Severity | IEC Clause | Count | Example |
| --- | --- | --- | --- | --- |
| missing_shutdown_rule | HIGH | §10.3.2 | 25 | No HH trip for pressure transmitter |
| contradiction | HIGH | §9.4.1 | 15 | Same trigger → open AND close valve |
| missing_alarm | MEDIUM | §11.2.1 | 21 | Level transmitter has no alarm rule |
| tag_mismatch | MEDIUM | §8.2.3 | 19 | PT-101 (narrative) vs PT101 (C&E) |
| missing_interlock | HIGH | §10.5.3 | 14 | Pump not listed in ESD scope |

# 12.  Summary and Next Steps

## Summary of Achievements

9-phase pipeline implemented end-to-end from PDF ingest to PLC code output

Z3 formal verification provides machine-checked proofs for all 3 finding types

Cross-modal entity linking: 3-step cascade (Exact → RapidFuzz → Embedding)

F1 = 0.918 on 50-package synthetic benchmark — exceeds 0.90 target threshold

Streamlit dashboard with 7 pages (Upload, Findings, KG, PLC, History, Metrics, Trace)

Full IEC 61131-3 Structured Text generated with inline AUDIT NOTE comments

## Planned Next Steps

| Task | Target | Status |
| --- | --- | --- |
| Ablation study write-up | Week 7 | In Progress |
| Real-data run (Schneider Electric dataset) | Week 8 | In Progress |
| Post-generation LLM baseline comparison | Week 7 | In Progress |
| Paper figure generation (matplotlib) | Week 9 | Planned |
| Final paper write-up | Wks 10-12 | Planned |